## MeterNotAvailable_DTSurvey_2025
DTID | PrimarySSName | FeederName | DistSSName Web | DistSSName | DistSSID | TxType Web | TxType | TxNumber Web | TxNumber | TxRatedKVA Web | TxRatedKVA | TxManufacturer Web | TxManufacturer | TxSrNO Web | TxSrNO | ScenarioOfReplacement | MeterNumber | MeterType | MeterPhoto | MeterBrand | MeterCTRatio | MeterCTRatioPhoto | MeterClassRatio | PowerFactor | Voltage 32 7 0 | Voltage 52 7 02 | Voltage 72 7 02 | Current 31 7 0 | Current 51 7 0 | Current 71 7 0 | VoltageV1ClampMeter | VoltageV2ClampMeter | VoltageV3ClampMeter | CurrentI1ClampMeter | CurrentI2ClampMeter | CurrentI3ClampMeter | CoilCTRatio | CTCoilPhoto | CTCoilDirection | IsCTRatioMatch | CTRatioMatch | KWHReading 15 8 0 | ReadingPhoto 15 8 0 | MeterCoverSeal | MeterTerminalSeal | MeterWiringConnection | WiringConnectionPhoto | PanelLocation | OmantelSignalAvailability | OmantelSignalPhoto | OredooSignalAvailability | OoredooSignalPhoto | OverallPanelCondition | OverallPanelConditionPhoto | IsSafeToWork | NoOfOutgoingFeeders | IsolationPoint | IsolationType | IsolationTypePhoto | CableSize | CableCondition | CableConditionPhoto | TimeRequiredForReplacement | TimeRequiredForMaintenance | FinalRemark | IsReadyToReplace | Date | Technician | Latitude | Longitude | AdditionalRemarks | Status | PPEComplaincePhoto | LOAPhoto | NotAttendedPhoto | WorkOrderNumber | LocationAccuracy | LocationProvider | Distance
DT00199 | DT00021_Test | 1 |  |  | 1 |  |  | 1 | 1 | [6 empty] | Meter Not Available | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 444.00 | 41.00 | 1 | 4 | 4 | N/A | N/A | N/A | N/A | N/A | 0.00 | N/A | N/A | N/A | N/A | N/A | Outside Boundary | No Signal | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021_test_1-DT00199-DTS_56-DTSurvey-OMP-MR005_2025-12-22_12-49-18.jpg | No Signal | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021_test_1-DT00199-DTS_56-DTSurvey-OSP-MR005_2025-12-22_12-49-24.jpg | Need to replace | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021_test_1-DT00199-DTS_56-DTSurvey-OPC-MR005_2025-12-22_12-49-38.jpg | NO | N/A | LV side | AB Switch | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021_test_1-DT00199-DTS_56-DTSurvey-ITP-MR005_2025-12-22_12-49-34.jpg | 185 mm² | Need Maintenance | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021_test_1-DT00199-DTS_56-DTSurvey-CPO-MR005_2025-12-22_12-49-28.jpg | 04 hrs 00 mins | N/A | Site survey completed | NO | 2025-12-22 12:53 | MR005 | 11.0514 | 76.963 | vkaolw | Attended | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021_test_1-DT00199-DTS_56-DTSurvey-PCE-MR005_2025-12-22_12-48-50.jpg | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021_test_1-DT00199-DTS_56-DTSurvey-LOAP-MR005_2025-12-22_12-48-54.jpg |  | DTS_56 | 20 | fused | 0
DT00202 | DT00021 @Test | 1 |  |  | 1 |  |  | 1 | 1 | [6 empty] | Meter Not Available | 134989 | CT Meter | N/A | Landisgyr | 1600/1 | N/A | 2 | 1.00 | 4664.00 | 73.00 | 64.00 | 46.00 | 46.00 | 46.00 | 94.00 | 9464.00 | 94.00 | 95 | 41 | 462 | 1200/5 | N/A | Reverse | YES | N/A | 4646.00 | N/A | Not Available | Available | Good | N/A | Other - skelelekek sjekke | Good | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021Test_1-DT00202-DTS_58-DTSurvey-OMP-MR005_2025-12-22_12-09-27.jpg | No Signal | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021Test_1-DT00202-DTS_58-DTSurvey-OSP-MR005_2025-12-22_12-09-33.jpg | Need maintenance | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021Test_1-DT00202-DTS_58-DTSurvey-OPC-MR005_2025-12-22_12-09-47.jpg | NO | N/A | LV side | Onload Disconnect | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021Test_1-DT00202-DTS_58-DTSurvey-ITP-MR005_2025-12-22_12-09-56.jpg | Other - other cable size | Good Condition | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021Test_1-DT00202-DTS_58-DTSurvey-CPO-MR005_2025-12-22_12-10-21.jpg | 02 hrs 02 mins | N/A | Site survey completed | NO | 2025-12-22 12:13 | MR005 | 11.0513 | 76.9629 | no no we no s no s no s no d no f no d no saw no a no s no s no s no we no s no d no f no d no a | Attended | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/Survey/Attended/Site+survey+completed/Dt00021Test_1-DT00202-DTS_58-DTSurvey-PCE-MR005_2025-12-22_12-12-33.jpg | N/A |  | DTS_58 | 20.9 | fused | 0
DT00011 | Al khoud PH-16 |  | 1 |  | 438354 |  | 1 |  |  |  | 1 |  | 1 |  | 1 | Meter Not Available | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 1.00 | 1.00 | 1 | 1 | 1 | N/A | N/A | N/A | N/A | N/A | 0.00 | N/A | N/A | N/A | N/A | N/A | Inside Boundary | Good | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site_survey_completed/Al_khoud_PH-16_438354-DT00011-DTS_52_1-DTSurvey-OMP-MR005_2025-12-08_09-48-02.jpg | Good | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site_survey_completed/Al_khoud_PH-16_438354-DT00011-DTS_52_1-DTSurvey-OSP-MR005_2025-12-08_09-48-05.jpg | Good condition | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site_survey_completed/Al_khoud_PH-16_438354-DT00011-DTS_52_1-DTSurvey-OPC-MR005_2025-12-08_09-47-53.png | NO | N/A | LV side | Other - Isolation type is disconnected | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site_survey_completed/Al_khoud_PH-16_438354-DT00011-DTS_52_1-DTSurvey-ITP-MR005_2025-12-08_09-47-57.jpg | 120 mm² | Good Condition | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site_survey_completed/Al_khoud_PH-16_438354-DT00011-DTS_52_1-DTSurvey-CPO-MR005_2025-12-08_09-47-59.jpg | 12 hrs 34 mins | N/A | Site survey completed | YES | 2025-12-08 13:50 | MR005 | 23.6 | 58.2031 | As technology continues to advance rapidly across various fields, people are constantly adapting to new tools and systems that make daily tasks easier, improve communication, and create opportunities | Attended | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site_survey_completed/Al_khoud_PH-16_438354-DT00011-DTS_52_1-DTSurvey-PCE-MR005_2025-12-08_09-46-58.png | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site_survey_completed/Al_khoud_PH-16_438354-DT00011-DTS_52_1-DTSurvey-LOAP-MR005_2025-12-08_09-47-01.jpg |  | DTS_52_1 | 0 |  | 0
DT00112 | 103 | 1 | 2 |  | 10 |  | 2 | 100 | 100 |  | 22 |  | 2 |  | 2 | Meter Not Available | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 1.00 | 1.00 | 1 | 1 | 1 | N/A | N/A | N/A | N/A | N/A | 0.00 | N/A | N/A | N/A | N/A | N/A | Outside Boundary | Good | N/A | Good | N/A | Need maintenance |  | NO | N/A | LV side | AB Switch |  | 240 mm² | Need Replace |  | 12 hrs 54 mins | N/A | Site survey completed | YES | 2025-12-05 09:24 | MR005 | 18.23 | 85.32 |  | Attended | N/A | N/A |  | DTS_43 | 0 |  | 0
DT00103 | 103 | 1 |  |  | 10 |  |  | 100 | 100 | [6 empty] | Meter Not Available | N/A | N/A | N/A | N/A | N/A | N/A | N/A | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 1.00 | 11.00 | 1.00 | 1 | 1 | 1 | N/A | N/A | N/A | N/A | N/A | 0.00 | N/A | N/A | N/A | N/A | N/A | Outside Boundary | No Signal | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site+survey+completed/103_10-DT00103-DTS_34-DTSurvey-OMP-MR005_2025-12-04_15-21-50.jpg | Good | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site+survey+completed/103_10-DT00103-DTS_34-DTSurvey-OSP-MR005_2025-12-04_15-21-57.jpg | Good condition | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site+survey+completed/103_10-DT00103-DTS_34-DTSurvey-OPC-MR005_2025-12-04_15-22-03.jpg | NO | N/A | LV side | AB Switch | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site+survey+completed/103_10-DT00103-DTS_34-DTSurvey-ITP-MR005_2025-12-04_15-22-11.jpg | Other - 6mm | Need Replace | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site_survey_completed/103_10-DT00103-DTS_34-DTSurvey-CPO-MR005_2025-12-04_16-55-50.jpg | 14 hrs 36 mins | N/A | Site survey completed | NO | 2025-12-04 15:26 | MR005 | 11.0514 | 76.963 |  | Attended | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site+survey+completed/103_10-DT00103-DTS_34-DTSurvey-PCE-MR005_2025-12-04_15-21-16.jpg | https://mdmamr-stage.s3.ap-south-1.amazonaws.com/DTMeter/DTSurvey/APR2025/Attended/Site+survey+completed/103_10-DT00103-DTS_34-DTSurvey-LOAP-MR005_2025-12-04_15-21-20.jpg |  | DTS_34 | 41.507 | fused | 0